| 1.Product Range / Model: |  | Year in which CE Mark was first affixed: 2023 |
| --- | --- | --- |
| Product Range / Model: | NAME: Luminaire DESCRIPTION: LED Strip BRAND : WiZ |  |

| 2. Manufacturer Name & Address: Signify I.B.R.S./C.C.R.I. /Numéro 10461 5600 VB Eindhoven, The Netherlands |  |  |
| --- | --- | --- |
| 3. This declaration of conformity is issued under the sole responsibility of the manufacturer. 4. Object of the declaration: |  |  |
| Product Code: | See Annex Specification of the products |  |

5&6. The object of the declaration described above is in conformity with the following relevant Union harmonization legislation and with the applicable requirements of the following harmonized standards

Radio Equipment Directive 2014/53/EU

EN 300 328 V2.2.2: 2019-07; Wideband transmission systems. Data transmission equipment operating in the 2,4 GHz band. Harmonised Standard for access to radio spectrum. EN 301 489-17 V3.2.4: 2020-09; ElectroMagnetic Compatibility (EMC) standard for radio equipment and services. Part 17: Specific conditions for Broadband Data Transmission Systems. Harmonised Standard for ElectroMagnetic Compatibility. EN 301 489-1 V2.2.3: 2019-11; ElectroMagnetic Compatibility (EMC) standard for radio equipment and services. Part 1: Common technical requirements. Harmonised Standard for ElectroMagnetic Compatibility. EN IEC 55015: 2019 + A11:2020; Limits and methods of measurement of radio disturbance characteristics of electrical lighting and similar equipment. EN 61547: 2009; Equipment for general lighting purposes. EMC immunity requirements. EN 61000-3-2: 2014; Electromagnetic compatibility (EMC). Part 3-2: Limits. Limits for harmonic current emissions (equipment input current ≤16 A per phase). EN 61000-3-3: 2013 + A1: 2019; Electromagnetic compatibility (EMC). Part 3-3: Limits. Limitation of voltage changes, voltage fluctuations and flicker in public low-voltage supply systems, for equipment with rated current ≤ 16 A per phase and not subject to conditional connection. EN 62493:2015; Assessment of lighting equipment related to human exposure to electromagnetic Field. EN 60598-1:2015+ A1:2018; Luminaires. Part 1: General requirements and tests. EN 60598-2-1:1989; Luminaires. Part 2-4: Particular requirements. Portable general purpose luminaires. EN 61347-1:2015+A1:2021; Lamp controlgear - Part 1: General and safety requirements. EN 61347-2-13:2014+A1:2017; Lamp controlgear. Part 2-13: Particular requirements for d.c. or a.c. supplied electronic controlgear for LED modules.

EcoDesign requirements for energy-related products Directive (ErP), 2009/125/EC and applicable Implementing Measures

Commission Regulation (EU) 2019/2020 and amendment Commission Regulation (EU) 2021/341 EN IEC 62717:2017/A2: 2019 LED modules for general lighting – Performance requirements

Restriction of the use of certain Hazardous Substances in electrical and electronic equipment Directive (RoHS), 2011/65/EU

EN IEC 63000:2018

Additional information: The products in this declaration are produced under a quality scheme at least in conformity with ISO 9001 or CENELEC permanent documents.

| Signed for and on behalf of: July 5, 2023 Building 9, Lane 888, Tianlin Road, Minhang District, Shanghai | Mr. Chen Liang Quality Head of WiZ Connected Division Digital Products Signify |
| --- | --- |

Annex: Specification of the products

| 12NC | Model Name | Product Description | EAN1 |
| --- | --- | --- | --- |
| 929002524822 | 9290025248 | Wi-Fi BLE LEDstrip 2M 1600lm startkit EU | 8718699788162 |
| 929002526422 | 9290025264 | Wi-Fi BLE LEDstrip 2M 1600lm startkit UK | 8718699789732 |
| 929002532122 | 9290025321 | Wi-Fi BLE LED strip 1M 880lm ext EU | 8719514261082 |
| 929002532142 | 9290025321 | Wi-Fi BLE LED strip 1M 880lm ext UK | 8719514553484 |