|  |  |
| --- | --- |
| **1.Product Range / Model:** | **Year in which CE Mark was first affixed*:* 2023** |
| **Product Range / Model:** | **NAME:** Luminaire **DESCRIPTION:** LED Strip**BRAND** : WiZ |

|  |  |
| --- | --- |
| **2. Manufacturer Name & Address:** **Signify**  I.B.R.S./C.C.R.I. /Numéro 10461 5600 VB Eindhoven, The Netherlands |  |
| **3. This declaration of conformity is issued under the sole responsibility of the manufacturer.****4. Object of the declaration:** |
| **Product Code:** | See Annex Specification of the products |

**5&6. The object of the declaration described above is in conformity with the following relevant Union harmonization legislation and with the applicable requirements of the following harmonized standards**

|  |
| --- |
| **Radio Equipment Directive 2014/53/EU** |
|

|  |  |
| --- | --- |
| EN 300 328 V2.2.2: 2019-07 | Wideband transmission systems. Data transmission equipment operating in the 2,4 GHz band. Harmonised Standard for access to radio spectrum |
| EN 301 489-17 V3.2.4: 2020-09 | ElectroMagnetic Compatibility (EMC) standard for radio equipment and services. Part 17: Specific conditions for Broadband Data Transmission Systems. Harmonised Standard for ElectroMagnetic Compatibility |
| EN 301 489-1 V2.2.3: 2019-11 | ElectroMagnetic Compatibility (EMC) standard for radio equipment and services. Part 1: Common technical requirements. Harmonised Standard for ElectroMagnetic Compatibility |
| EN IEC 55015: 2019 + A11:2020 | Limits and methods of measurement of radio disturbance characteristics of electrical lighting and similar equipment |
| EN 61547: 2009 | Equipment for general lighting purposes. EMC immunity requirements |
| EN 61000-3-2: 2014 | Electromagnetic compatibility (EMC). Part 3-2: Limits. Limits for harmonic current emissions (equipment input current ≤16 A per phase) |
| EN 61000-3-3: 2013 + A1: 2019 | Electromagnetic compatibility (EMC). Part 3-3: Limits. Limitation of voltage changes, voltage fluctuations and flicker in public low-voltage supply systems, for equipment with rated current ≤ 16 A per phase and not subject to conditional connection |
| EN 62493:2015 | Assessment of lighting equipment related to human exposure to electromagnetic Field |
| EN 60598-1:2015+ A1:2018 | Luminaires. Part 1: General requirements and tests |
| EN 60598-2-1:1989 | Luminaires. Part 2-4: Particular requirements. Portable general purpose luminaires |
| EN 61347-1:2015+A1:2021 | Lamp controlgear - Part 1: General and safety requirements |
| EN 61347-2-13:2014+A1:2017 | Lamp controlgear. Part 2-13: Particular requirements for d.c. or a.c. supplied electronic controlgear for LED modules |
|  |  |

 |

|  |
| --- |
| **EcoDesign requirements for energy-related products Directive (ErP), 2009/125/EC and applicable Implementing Measures**  |
|  Commission Regulation (EU) 2019/2020 and amendment Commission Regulation (EU) 2021/341EN IEC 62717:2017/A2: 2019 LED modules for general lighting – Performance requirements |

|  |
| --- |
| **Restriction of the use of certain Hazardous Substances in electrical and electronic equipment Directive  (RoHS), 2011/65/EU**  |
|  EN IEC 63000:2018 |

**Additional information: The products in this declaration are produced under a quality scheme at least in conformity with ISO 9001 or CENELEC permanent documents.**

|  |  |
| --- | --- |
| **Signed for and on behalf of:**July 5, 2023Building 9, Lane 888, Tianlin Road,Minhang District, Shanghai | Mr. Chen LiangQuality Head of WiZ ConnectedDivision Digital ProductsSignify |

**Annex: Specification of the products**

|  |  |  |  |
| --- | --- | --- | --- |
| **12NC** | **Model Name** | **Product Description**  | **EAN1** |
| 929002524822 | 9290025248 | Wi-Fi BLE LEDstrip 2M 1600lm startkit EU | 8718699788162 |
| 929002526422 | 9290025264 | Wi-Fi BLE LEDstrip 2M 1600lm startkit UK | 8718699789732 |
| 929002532122 | 9290025321 | Wi-Fi BLE LED strip 1M 880lm ext EU | 8719514261082 |
| 929002532142 | 9290025321 | Wi-Fi BLE LED strip 1M 880lm ext UK | 8719514553484 |